Analysis of agomelatine in human plasma by high performance liquid chromatography

*P.Venkat Rao,G.Srinubabu,T.Prabhakar and S.Suneetha

1. College of Pharmaceutical Sciences, Andhra University, Visakhapatnam, Andhrapradesh, India-530003

E mail:venkatpasupu@gmail.com

Abstract

A simple, rapid, sensitive and reliable high performance liquid chromatography (HPLC) method for the determination of the agomelatine in plasma was developed. Spiked plasma was extracted with methanol and agomelatine was determined by HPLC using a C18 column and (methanol–0.4% orthophosphoric acid- aqueous 50:50) as mobile phase. The linear calibration curves of agomelatine in plasma were obtained over the concentration range of 1.0–5.0 μg/ml. The lower limit of quantitation (LLOQ) was 10 ng/ml in plasma. The precision measured for plasma was within 2% RSD . Extraction recovery was over 95% in the plasma. The method was successfully applied to the identification and quantification of agomelatine in plasma.

Keywords: Agomelatine; high performance liquid chromatography,plasma.