Analysis of Ozagrel in human plasma by high performance liquid chromatography

*P.Venkat Rao,G.Srinubabu,T.Prabhakar and S.Suneetha

1. College of Pharmaceutical Sciences, Andhra University, Visakhapatnam, Andhrapradesh, India-530003

E mail:venkatpasupu@gmail.com

Abstract

A simple, rapid, sensitive and reliable high performance liquid chromatography (HPLC) method for the determination of the ozagrel in plasma was developed. Spiked plasma was extracted with methanol and ozagrel was determined by HPLC using a C18 column and (methanol:0.1% v/v aqueous formic acid- 14:86) as mobile phase. The linear calibration curves of ozagrel in plasma were obtained over the concentration range of 1.0–5.0 μg/ml. The lower limit of quantitation (LLOQ) was 5.0 ng/ml in plasma. The precision measured for plasma was within 2% RSD . Extraction recovery was over 95% in the plasma. The method was successfully applied to the identification and quantification of ozagrel in plasma.

Keywords: Ozagrel; high performance liquid chromatography,plasma.