Quantitation of Alpha Amyrin in Scoparia dulcis L. Whole Plant Extract by High Performance Liquid Chromatography

Lakshmu Naidu, P. Va., Kishore Kumar, Kc*., Sujatha, Sb., Narasimha Rao, Ma.

a Center for Biotechnology, Department Chemical Engineering, Andhra University,

Visakhapatnam, Andhra Pradesh, India – 530 003.

b Department of Pharmaceutical Technology, University College of Pharmaceutical Sciences, Andhra University, Visakhapatnam, Andhra Pradesh, India – 530 003.

c Department of Plant Sciences, School of Life Sciences, University of Hyderabad,

Andhra Pradesh, India – 500 046.

# Abstract

A rapid and sensitive HPLC method with UV detection (206 nm) for routine analysis of alpha amyrin from Scoparia dulcis plant extract was developed. Chromatography was performed with mobile phase containing a mixture of acetonitrile and water (59:41) with a flow rate of 1.5 mL min-1. The procedure was validated by linearity (correlation coefficient = 0.9997), accuracy, robustness and intermediate precision. LOQ and LOD of detection were found to be 1.2 μg and 0.4 μg respectively. Linearity established at different concentrations of alpha amyrin ranging from 0.008mg mL-1 to 0.032 mg mL-1. The proposed method was simple, highly sensitive, precise, accurate and repeatable.

Keywords: Scoparia dulcis, alpha amyrin, Extraction, HPLC, Method validation.

Corrosponding Author:

Dr. Kishore Kumar, Kadimpati.

PDF (Dr. D. S. Kothari PDF),

Dept. Of Plant Sciences,

School of Life Sciences,

University of Hyderabad,

Gochibowli,

Hyderabad – 500 046.

E-mail: kishorekumarsphd@gmail.com