Analysis of sofalcone in human plasma by high performance liquid chromatography

*P.Venkat Rao,G.Srinubabu,T.Prabhakar and S.Suneetha

1. College of Pharmaceutical Sciences, Andhra University, Visakhapatnam, Andhrapradesh, India-530003

E mail:venkatpasupu@gmail.com

Abstract

A simple, rapid, sensitive and reliable high performance liquid chromatography (HPLC) method for the determination of the anti-ulcer drug, sofalcone in plasma was developed. Spiked plasma was extracted with chloroform and sofalcone was determined by HPLC using a C18 column and (methanol–0.1% formic acid aqueous 84:16) as mobile phase. The linear calibration curves of sofalcone in plasma were obtained over the concentration range of 0.05–5.0 μg/ml. The lower limit of quantitation (LLOQ) was 10 ng/ml in plasma.The precision measured for plasma was within 10%. Extraction recovery was over 90% in the plasma. The method was successfully applied to the identification and quantification of sofalcone in plasma.

Keywords: Sofalcone; high performance liquid chromatography,plasma.